SR - Module

Introduction

"SR Module.exe" is a program that can run under the control of other programs that needs stopping powers and ranges. When it is executed, it reads a control file and then outputs a new file containing stopping powers and ranges. This output can then be used by the other programs. Since it has no user interface, it is invisible to the user.

SR-Module uses the same controls as the "Tables of Stopping and Ranges" which you can activate from the SRIM Title Page. When this SRIM program is run, it places a file called "SR.IN" in the SRIM directory. It then calculates the stopping powers and ranges and places them in a separate file in the sub-directory, “/SRIM Outputs”.

To use SR-Module, first look in its subdirectory "/SR Module". You will find the executable program "SR Module.exe", and data files: SCOEF03.dat, SNUC03.dat and VERSION. The first two are data files for the stopping and range program and the third contains the current version of the SRIM Module.

You will also find a copy of the control file "SR.IN". It contains information such as:

1	---Stopping/Range Input Data (Number-format: Period = Decimal Point)

2	---Output File Name

3	"Hydrogen in Water_Liquid"

4	---Ion(Z), Ion Mass(u)

5	1   1.008

6	---Target Data: (Solid=0,Gas=1), Density(g/cm3), Compound Corr.

7	0    1    1

8	---Number of Target Elements

9	 2

10	---Target Elements: (Z), Target name, Stoich, Target Mass(u)

11	1   "Hydrogen    "           2             1.008

12	8   "Oxygen      "           1             15.999

13	---Output Stopping Units (1-8)

14	 5

15	---Ion Energy : E-Min(keV), E-Max(keV)

16	 10    10000

SR Module reads this file and generates a file called "Hydrogen in Water_Liquid" containing the stopping and range of H ions into water from 10 keV to 10 MeV. The lines of this file are:

1	Title line. Note that all numbers MUST use a period as a decimal point.

2	Comment describing the next input line.

3	Name of the Output File

4	Comment describing the next input line.

5	Ion Atomic Number and Mass

6	Comment describing the next input line.

7	Target Data: [Target is a solid or gas], [Target Density- g/cm3], [Compound Correction]

8	Comment describing the next input line.

9	Number of target atoms (up to 100)

10	Comment describing the next input line.

11	Tgt Atom #1: Atomic Number, Name, Atomic Mass

12	Tgt Atom #2: Atomic Number, Name, Atomic Mass

13	Comment describing the next input line.

14	Output Stopping Units (1-8)

15	Comment describing the next input line.

16	Ion Energy Range, keV, of output tables (2 numbers)

To understand the details of this file, go to the SRIM program "Tables of Stopping and Ranges" and read the various HELP files. Execute this SRIM program to calculate a new Table, and then exit and look at the file “SR.IN" in the main SRIM directory. You can copy this control file into the subdirectory "/SR Module" and then execute "SR Module.exe". You will find that it generates the same table, but with no input from the user.

In the input file, the next to last item is "Output Stopping Units (1-8)":

(1) - eV / Angstrom

(2) - keV / micron

(3) - MeV / mm

(4) - keV / (ug/cm2)

(5) - MeV / (mg/cm2) = keV / (ug/cm2)

(6) - keV / (mg/cm2) = eV / (ug/cm2) = MeV / (g/cm2)

(7) - eV / (1E15 atoms/cm2)

(8) - L.S.S. reduced units

Use the SRIM program to generate several Tables, and look at each of the "/SRIM Outputs/SR.IN" files. These will guide you to make new control SR.IN files.

Using "SR Module" to generate special tables.

When you produce the Tables, you specify the starting and final ion energy, but you do not control the spacing of the energy increments. However, you can generate stopping powers for any list of energies using "SR Module.exe" by using the following change to the above "SR.IN" file.

15	---Ion Energy : E-Min(keV), E-Max(keV)

16	 0    0

17	 1.02

18	 2.55

19	 3.98

20	 0

The line containing the lowest and highest ion energies now contains " 0  0 ". This indicates that the following lines contain a list of specific energies. Enter your list of energies (up to 1000) and terminate the list with a " 0 " as shown above. This will generate a simple Output File that will look like:

Ion = Hydrogen    , Mass = 1.008

Tgt =  H +  O (Solid), Density = 1 g/cm3

Stopping Units = MeV/(mg/cm2)

Energy(keV)  S(Elec)    S(Nuc)

1.020E+00   1.751E-01  3.921E-02

2.550E+00   2.694E-01  2.391E-02

3.980E+00   3.264E-01  1.681E-02

The top four lines of this output file allows a check of the input values. Then there is a list with three values on each line: [Energy (keV)], [Electronic Stopping Power], [Nuclear Stopping Power]. This file can then be read into another program which requires stopping powers for specific ion energies.

Special Nuclear Stopping Powers

The nuclear stopping powers of SR Module will be slightly different from those in the full tables since these are improved values which will later be incorporated into SRIM. The Table SNUC03.dat contains individually calculated nuclear stopping powers for all possible combinations of ion/targets, i.e. it contains 92 x 92 individual nuclear stopping powers. The nuclear stopping used in SRIM is a scaled stopping power, often called "ZBL" in the literature. This approximation is quite good for the interaction of atoms of approximately the same mass. However, it is rather poor for ion / target atoms with quite different masses, especially H or He ions.

LEGAL NOTICE

The software described in this file "SR Module.exe" is covered by the same legal notice as SRIM. It may be freely copied and used for any non-commercial application. Its inclusion in any commercial software requires a license from SRIM.org. See the legal notice "/Data/Legal.rtf" in the SRIM directory for full details.